# Annex A - Information Sheet

(to be repeated for each calibrated system)

| Laboratory: |  |
| --- | --- |
| Date and hour of the beginning of measurements: |  |
| Date and hour of the end of measurements: |  |
| Information on the system |
|  | Local: | Travelling: |
| 4-character BIPM code |  |  |
| ( Receiver maker and type: |  |  |
| Receiver serial number: |  |  |
| 1 PPS trigger level /V: |  |  |
| ( Antenna cable maker and type: |  |  |
| Phase stabilised cable (Y/N): |  |  |
| Length outside the building /m: |  |  |
| ( Antenna maker and type: |  |  |
| Antenna serial number: |  |  |
| Temperature (if stabilised) /°C |  |  |
| Measured delays /ns (if needed fill box “Additional Information” below) |
|  | Local: | Travelling: |
| ( Delay from local UTC to receiver 1 PPS-in: |  |  |
| Delay from 1 PPS-in to internal Reference (if different): (see section 2 for details) |  |  |
| ( Antenna cable delay: |  | (1) |
| Splitter delay (if any): |  | (1) |
| Additional cable delay (if any): |  | (1) |
| Data used for the generation of CGGTTS files |
| ( INT DLY (GPS) /ns: |  |
| ( INT DLY (Galileo) /ns: |  |
| ( INT DLY (GLONASS) /ns: |  |
| ( CAB DLY /ns: |  |
| ( REF DLY /ns: |  |
| ( Coordinates reference frame: |  |
| Latitude or X /m: |  |
| Longitude or Y /m: |  |
| Height or Z /m: |  |
| General information |
| ( Rise time of the local UTC pulse: |  |
| ( Is the laboratory air conditioned: |  |
| Set temperature value and uncertainty: |  |
| Set humidity value and uncertainty: |  |

(1) For a trip with closure, not needed if the traveling equipment is used in the same set-up throughout.

Diagram of the experiment set-up:

Log of Events / Additional Information :