TM137 BIPM TAI Time Link Comparison on ftp

Version 1: Oct. 2004 by ZJ

Version 6 Last edit: 27 May 2005 by AF/GP

Version 7 Last edit: 26 May 2008: Comparison including GPS PPP by GP

Version 8 Last edit: 10 June 2009: Comparison including GLONASS by ZJ, ftp://tai.bipm.org/TimeLink/LkC/ReadMe_LinkComparison_ftp_v8.doc

Version 9 Last edit: 21 Jan. 2011 by ZJ: Link combinations: GPS+GLN, TW+PPP/P3: ftp://tai.bipm.org/TimeLink/LkC/ReadMe_LinkComparison_ftp_v9.doc

Contact: tai@bipm.org

This is the Read Me file of the ftp site on the TAI time link results calculated by the BIPM Time Section. The comparison results since January 2005 are published each month after the BIPM Circular T in  ftp://tai.bipm.org/TimeLink/LkC

Version 6 is characterized by the comparisons of the time transfer methods: GPS common view and all in view.

Version 7 is characterized by the comparisons between TW and GPS PPP for TAI and non-TAI time links. Important modifications vs. version 6 are in red collar. Version 7 is mis en pratique sience TAI 0804.

The monthly GPS PPP computation solutions are on ftp://tai.bipm.org/TimeLink/TAIPPP

Version 8 is based on the version 7 and characterized by including GLONASS and long term (yearly) data comparisons. SU-PTB GLN has been used in UTC since Nov. 2009.

Version 9 includes the link combinations of GPS+GLN and TW+GPSPPP. Cf. TM185: ftp://tai.bipm.org/TimeLink/LkC/TM185_New-in-Tsoft_LnkCombination.doc and the Fig. 7, 8, 9 and 10 in the end of this doc. Combined links have been used in UTC for SU, UME, CH, NIST, OP and SP since Jan. 2011

To monitor the calibration variation, all the non TAI TW links and GPS PPP receivers are relatively calibrated against the TAI links. Therefore all the link values presented here are corresponding to the time links between UTC(Lab). In consequence, no mean value nor slop will be removed in the plots as did in the version 6.  Cf. TM151 and TM152 for details:

ftp://tai.bipm.org/TimeLink/LkC/TM151_TwCalib.Doc

ftp://tai.bipm.org/TimeLink/LkC/TM152_PPPCalib.Doc  (available soon)

# 1. Introduction and directory structure

The monthly comparisons are in \LkC\YYMM where YYMM corresponds to the year and month of the calculated Circular T, for example, 0501 is for 2005 January. They contain plots and data files for link values and link comparisons for all measurement dates. See section 2.

The general directory tree looks like:

ftp://tai.bipm.org/TimeLink/LkC

ReadMe

│

├───0501        : results for 2005 January

│     │  Dlk0501.sum

│     ├─Lab2Lab1: results for link Lab2-Lab1 of 0501

│          ├─Dlk: Link comparisons for Lab2-Lab1

│          ├─Lnk: Link results for Lab2-Lab1

│     ├─ … …

│

├───0502        : results for 2005 February

│ … …

A link, Lab2Lab1 is always defined as: Link = UTC(Lab2)-UTC(Lab1). Here Lab1 is usually the so called pivot laboratory.

A comparison of links is always defined as dLink=Link1-Link2

By default, the unit for all the tables and plots is 1 ns.

In the present version, the link comparisons concern all links for which Two Way time transfer is available. Comparisons between the Two Way link and all other available GPS links are presented. In addition, for each type of GPS link, the comparison between the "Common view" and "All in view" computations is presented.

The link results are computed without any time or receiver jumps introduced.

# 2. The Monthly Comparison

## 2.0 Summary of statistics of link comparisons

File DlkYYMM.sum in subdirectories \LkC\YYMM\  provides the summary of the statistics of all link comparisons in the subdirectory \YYMM. For each link comparison data file one line summarises the statistics (see example in section 2.2). Comments may be added for each link to indicate special features that may affect the statistics e.g. data gaps, known or suspected time steps, known or suspected outliers, etc…

## 2.1 The file naming conventions

In each sub-directory of \LkC\YYMM\Lab2Lab1\, there are two sub-directories: The Link subdirectory contains the Link files and the dLink subdirectory contains the dLink (link comparisons) files:

The Link files are plots in Gif format with the name Lab2Lab1.ABCD_.gif , where

A is the Observation type of Lab2

B is the Observation type of Lab1

C is the Link type

D is the Link computation type

Observation types and Link types are

S = GPS Single Channel C/A code

M = GPS Multi-Channel C/A code

R = GLONASS C/A code

P = GPS P3 code

3 = GPS PPP

B = GNSS and TW combination

T = Two way time transfer Ku band

Although the codes are the same for the two fields, they have different meanings, e.g. a "Link type" S can result from two data files with "Observation type" M and S, or S and S. Only the "Link type" is retained to name the dLink (link comparison) files.

The link computation types are:

C = Common View for GPS links

A = All in View for GPS links

3 = GPS PPP links

B = GNSS and TW combination

T = Two way time transfer Ku band (following ITU-Rec1153)

GPS links are always computed with data corrected for IGS precise ephemerides and solid Earth tides. S and M types are also corrected for ionospheric delay from IGS maps

The dLink (link comparison) files are data in ASCII format and plots in Gif format. The file name is Lab2Lab1.ABCD5 for a data file and Lab2Lab1.ABCD5.gif for a plot file, where

A is the Link type of the first link

B is the Link type of the second link

C is the Link computation type of the first link

D is the Link computation type of the second link

## 2.2 The Link Comparison Data file

An example of link comparison data is shown below, the comparison between the TW link (Link1) and GPS single channel CV link (Link2): NISTPTB.TSTC5.

Data lines are numbered consecutively and contain

Mjd = Date of measurement

Link1, Link2 = Link values

dLink = Link1 – Link2

Jump1, Jump2 : optional time correction applied to Link1 or Link2

dLink_ = (Link1+Jump1) – (Link2+Jump2)

Information in the last line:

N    = total number of measurements

Min  = minimum value of dLink

Max  = maximum value of dLink

Mean = mean value of dLink

RMS  = Root Mean Square of the dLink values

SD   = Standard Deviation of the dLink values

The values following this line are only used to produce the corresponding stability plots and are not described here.

## 2.3 The Plots of links and link comparisons

### 2.3.1 The plot of a link

See examples Figures 1, 2 and 3.

The plot contains 4 figures:

- the top figure represents the link measured values (ns) with red numbers indicating the link values computed on the standard TAI dates.

- the middle figure represents the residuals = measured - smoothed: For GPS 'smoothed' is the result of Vondrak smoothing. For TW, it is the linear interpolation of the two adjacent point.

- the bottom left figure : the Modified Allan Deviation of the link measured values.

- the bottom right figure : the Time Deviation of the link measured values.

Description of the legends in the plots

- Bottom line of the top figure indicates, the type of the link, the year and month, the two laboratories and their TAI codes, the total number of points and the time and date of the processing.

- Bottom line in the middle figure indicates the maximum value and the standard deviation of the residuals, and (for GPS links) the power of the Vondrak smoothing.

- Top line of the bottom figures indicates Tau0, the averaging time for the first point of the deviations, and Scale, the unit for the indicated values.

- Bottom line of the bottom figures, d/8, d/4 and d/2 stand for day/8, day/4 and day/2; dd and ddd stand for 2 and 3 days; wk means a week

A GPS link plot is based on its ASCII GPS data file: Lab2Lab1.ABCD_.Dat. It has three parts: the header, the link data body and the plot data body. We ignore here the first and the 3rd parts. The link data body has four columns: MJD, link value, Vondrak smoothing value and their difference, as displayed in the following table:

There are not the TW link data files because the complete TW link data values can be found in the link comparison file introduced in the above section 2.2.

### 2.3.2 The plot of a link comparison (dLink)

See examples Figures 4 and 5.

The plot contains 4 figures:

- the top figure represents the measured values (ns) of the two links to be compared Link1(black crosses) and Link2(blue circles. If the maximum absolute value of the difference dLink exceeds 100 ns, the mean value of dLink (shown in the middle figure) will be subtracted from the Link1 before plotting and the keyword “MeanRmved” will appear.

- The middle figure is the differences dLink = Link1 - Link2. Note that the red numbers represent real points chosen "at random" to indicate the order of magnitude of the values and their variations. They are not intended to represent special points.

- the bottom left figure : the Modified Allan Deviation of the dLink values.

- the bottom right figure : the Time Deviation of the dLink values.

Description of the legends in the plots

- Bottom line of the top figure indicates the year and month, the name of the dLink data file, the total number of points. MeanRmved appears if the mean value has been removed.

- Bottom line in the middle figure indicates the maximum, minimum and average value of dLink and its standard deviation.

- Legends in the bottom figures are similar to the Link plot.

Fig. 1 TW link of NIST PTB

Fig. 2 GPS CV link of NIST PTB

Fig. 3 GPS AV link of NIST PTB

Fig. 4 Comparison of TW link and the GPS CV link of NIST PTB

Fig. 5 Comparison of TW link and the GPS AV link of NIST PTB

Fig. 6 Comparison of GLN CV link and the GPS AV link of AOS and PTB

Fig. 7 Combined link of  GLN CV and GPS AV SU-PTB 1012

Fig. 8 Comparison between the combined link (Fig 7) and the GPS link SU-PTB 1012

Fig. 9 Combined link of TW and GPSPPP AV CH-PTB 1012

Fig. 10 Comparison between the combined link (Fig 8) and the TW link SU-PTB 1012

# Text boxes

MJD            Link         Smth     Resid

54552.00000       91.820       92.140    0.320

54552.00347       91.942       92.167    0.225

54552.00694       91.980       92.195    0.215

54552.01042       92.075       92.224    0.149

54552.01389       92.083       92.254    0.171

54552.01736       92.157       92.285    0.128

54552.02083       92.313       92.316    0.003

54552.02431       92.378       92.348   -0.030

54552.02778       92.238       92.381    0.143

54552.03125       92.517       92.415   -0.102

54552.03472       92.621       92.450   -0.171

54552.03819       92.575       92.485   -0.090

54552.04167       92.522       92.521   -0.001

54552.04514       92.746       92.558   -0.188

! 0502     Mjd         Link1       Link2     dLink     Jump1     Jump2    dLink_

1 53397.0347      -5.879       7.420   -13.299     0.000     0.000   -13.299

2 53397.3680      -6.051       7.264   -13.315     0.000     0.000   -13.315

… …

130 53430.6180      -0.170      12.480   -12.650     0.000     0.000   -12.650

131 53430.7014      -0.703      12.371   -13.074     0.000     0.000   -13.074

! Combined dLink Statis. NISTPTB.TSTC5 :

N,Min,Max,Mean,RMS,SD= 131   -15.539   -10.240   -12.850    12.896   1.085